### Electrician Trade Syllabus

Syllabus of Electrician trade as prescribed by various ITIs.

| Sem. I |  |  |
| --- | --- | --- |
| Sr. No. | Subjects of Study |  |
|  | Trade Practical | Trade Theory |
| 1 | Implementation in the shop floor of the various safety measures. | Occupational Safety and Health |
| 2 | Demonstration of Trade hand tools. Identification of simple types- screws, nuts & bolts, chassis, clamps, rivets etc. | Identification of Trade-Hand tools specifications, Uses and their care maintenance. |
| 3 | Practice in using cutting pliers, screw drivers, etc | Fundamental of electricity. |
| 4 | Practice on soldering & Brazing | Solders, flux and soldering technique. Brazing. |
| 5 | Verification of Ohm’s Law, Verification of Kirchoff’s Laws. | Ohm’s Law, Resistors Law & Kirchoff’s Laws |
| 6 | Demonstration and identification of types of cables. | Introduction of National Electrical Code Voltage grading of different types of Insulators, Temp. |
| 7 | Identification and use of wiring accessories Practice on installation and overhauling common electrical accessories. | Common Electrical wiring Accessories, their specifications in line with NEC |
| 8 | Grouping of Dry cells for a specified voltage and current | Chemical effect of electric current Principle of electrolysis. |
| 9 | Allied Trades | Introduction of fitting trade. |
| 10 | Drilling practice in hand drilling and power drilling machines. | Types of drills description and drilling machines, proper use, care and maintenance. |
| 11 | Practice in using snips, marking and cutting of straight and curved pieces in sheet metals. | Description of marking and cutting tools such as snubs shears punches and other tools like hammers, mallets, etc. |
| 12 | Trace the magnetic field. Assembly / winding of a | Magnetism |
| 13 | Determine the characteristics of RL, RC and RLC in A.C. Circuits both in series and parallel. | Alternating Current |
| 14 | Practice on Earthing | Earthing |
| 15 | Determine the resistance by Colour coding Identification of active/passive components | Basic electronics |
|  | Project Work |  |
| Sem. II |  |  |
|  | Trade Practical | Trade Theory |
| 1 | Different wave shapes of rectifiers and their values using C.R.O. | Working principle and uses of an oscilloscope. |
| 2 | Measure Voltage, current & wave shape of oscillator using CRO. | Explanation of oscillator-working principle |
| 3 | Practice in casing, Capping. | Electric wirings, Wiring system |
| 4 | Application of fuses, relay, MCB, ELCB. | Study of Fuses, Relays, Miniature circuit breakers (MCB), ELCB, etc. |
| 5 | Identification of the parts of a D.C. machine. | D.C. Machines, Principle of D.C. generator, D.C. Generators |
| 6 | Connection of compound Generator, Voltage measurement, cumulative and differential | Explanation of Armature reaction, inter poles and their uses, connection of inter poles, Commutation |
| 7 | Identification of parts and terminals of DC motors. | DC Motors - Terms used in D.C. motor |
| 8 | Speed control of DC motors by voltage, field, armature & Word-Leonard system | Types of speed control of DC motors in industry. |
| 9 | Identification of types of transformers. | Working principle of Transformer |
| 10 | Identify the type of Instruments | Electrical Measuring Instruments |
|  | Project Work |  |
| Sem. III |  |  |
|  | Trade Practical | Trade Theory |
| 1 | Identification of parts and terminals of AC motors | Three phase Induction motor |
| 2 | Connection of single phase motor, identification, testing, running and reversing | Single phase induction motor, Universal motor |
| 3 | Identification of parts and terminals of Alternator | Alternator |
| 4 | Identification of parts and terminals of Synchronous motor | Synchronous Motor |
| 5 | Starting, running, building up voltage and loading of Motor Generator (MG) set | Rotary Converter- Inverter, M.G. Set description, Characteristics, specifications running and Maintenance. |
| 6 | Practice on winding of small Transformers. | Transformer Winding , Small Transformer winding techniques |
| 7 | Testing of burnt DC machine for rewinding – collection of data –developed diagram and connection – winding procedure | DC machine Winding-Armature winding terms, pole pitch, coil pitch, back pitch, front pitch , Lap and Wave winding, Progressive and retrogressive Winding, developed diagram. |
| 8 | Testing of burnt motor for rewinding – collection of data –developed diagram and connection – winding procedure | AC machine Winding— Motor winding terminology – classification of conducting and insulating materials used in winding |
| 9 | Installation of - Mercury & Sodium vapours (H.P. & L.P.) | Illumination, Laws of Illuminations, terminology used, Illumination factors, intensity of light –importance of light, human eye factor, , units. |
| 10 | Practice on wiring of electric motor, control panel, etc | Industrial wiring |
| 11 | Practice of wiring Maintenance of institute, hostel, hotel, residential building. | Complete House-wiring layout |
|  | Project Work |  |
| Sem. IV |  |  |
| 1 | Trade Practical | Trade Theory |
| 2 | Machine control cabinet /Control Panel Layout, Assembly & Wiring | Machine control cabinet/Control Panel Layout, Assembly & Wiring: |
| 3 | Repair & Test of Calling Bell, Buzzer, Alarms, Electric Iron, Heater, Light. | Domestic Appliances |
| 4 | Practice on Thermal power plant simulator (free version) or Plant visit. | Power Generation |
| 5 | Practice on Hydro power plant simulator (free version) or Plant visit | Hydro Electric |
| 6 | Practice on Nuclear power plant simulator (free version) or Plant visit | Nuclear |
| 7 | Practice on Non-conventional power plant simulator (free version) or Plant visit. | Non-Conventional |
| 8 | Identification and specification of different type of insulator used in HT line. | Transmission of Electrical power |
| 9 | Skinning and dressing of cables | Under Ground Cable |
| 10 | To visit & prepare layout plan, single line diagram of Transmission /distribution Substation | Distribution of Power |
| 11 | Speed control of DC motor | Introduction, Construction & Working of power transistor, thyristor |
| 12 | Speed control of AC motor | Speed control of 3 phase induction motor by using VVVF/AC Drive |
| 13 | Break down, Routine & Preventive maintenance of DC/AC machines, Voltage stability | Schedule of electrical preventive maintenance. |
|  | Project Work |  |